1818967 | 11/01/2023 06:32 AM | PM | Planned Maintenance | WP | Awaiting Parts | Datex Ohmeda GE Respiratory Compact Airway Modules E-C... - Next Scheduled Date: 11/01/2024 | Flora Schneider | FLORA | EMPLOYEE | 12/31/2023 11:59 PM | 10/05/2023 10:15 AM |  |  | SJN1182 | Compact Airway Gas Module | 20-778 | Physiologic Monitor Modules, Anesthetic Gas | 6623695 | 440964 | GE Healthcare Technologies | E-CAiOV-00 | 5101-20100 | SJN-Anesthesiology | IU | Active | SJN | SJN | 30
1818968 | 12/01/2023 06:32 AM | PM | Planned Maintenance | WP | Awaiting Parts | Datex Ohmeda GE Respiratory Compact Airway Modules E-C... - Next Scheduled Date: 12/01/2024 | Flora Schneider | FLORA | EMPLOYEE | 01/31/2024 11:59 PM | 10/05/2023 10:15 AM |  |  | SJN1334 | Compact Airway Gas Module | 20-778 | Physiologic Monitor Modules, Anesthetic Gas | 6491845 | 440964 | GE Healthcare Technologies | E-CAiOV-00 | 5101-20100 | SJN-Anesthesiology | IU | Active | SJN | SJN | 30
1818969 | 12/01/2023 06:32 AM | PM | Planned Maintenance | WP | Awaiting Parts | Datex Ohmeda GE Respiratory Compact Airway Modules E-C... - Next Scheduled Date: 12/01/2024 | Flora Schneider | FLORA | EMPLOYEE | 01/31/2024 11:59 PM | 10/05/2023 10:15 AM |  |  | SJN4107 | Compact Airway Gas Module | 20-778 | Physiologic Monitor Modules, Anesthetic Gas | 6486891 | 440964 | GE Healthcare Technologies | E-CAiOV-00 | 5101-20100 | SJN-Anesthesiology | IU | Active | SJN | SJN | 30
1818970 | 12/01/2023 06:32 AM | PM | Planned Maintenance | WP | Awaiting Parts | Datex Ohmeda GE Respiratory Compact Airway Modules E-C... - Next Scheduled Date: 12/01/2024 | Flora Schneider | FLORA | EMPLOYEE | 01/31/2024 11:59 PM | 10/05/2023 10:15 AM |  |  | SJN4108 | Compact Airway Gas Module | 20-778 | Physiologic Monitor Modules, Anesthetic Gas | 6509278 | 440964 | GE Healthcare Technologies | E-CAiOV-00 | 5101-20100 | SJN-Anesthesiology | IU | Active | SJN | SJN | 30
1818971 | 12/01/2023 06:32 AM | PM | Planned Maintenance | WP | Awaiting Parts | Datex Ohmeda GE Respiratory Compact Airway Modules E-C... - Next Scheduled Date: 12/01/2024 | Flora Schneider | FLORA | EMPLOYEE | 01/31/2024 11:59 PM | 10/05/2023 10:15 AM |  |  | SJN4109 | Compact Airway Gas Module | 20-778 | Physiologic Monitor Modules, Anesthetic Gas | 6465025 | 440964 | GE Healthcare Technologies | E-CAiOV-00 | 5101-20100 | SJN-Anesthesiology | IU | Active | SJN | SJN | 30
1818972 | 11/01/2023 06:32 AM | PM | Planned Maintenance | WP | Awaiting Parts | Datex Ohmeda GE Respiratory Compact Airway Modules E-C... - Next Scheduled Date: 11/01/2024 | Flora Schneider | FLORA | EMPLOYEE | 12/31/2023 11:59 PM | 10/05/2023 10:15 AM |  |  | SJN5536 | Compact Airway Gas Module | 20-778 | Physiologic Monitor Modules, Anesthetic Gas | 6490077 | 440964 | GE Healthcare Technologies | E-CAiOV-00 | 5101-20100 | SJN-Anesthesiology | IU | Active | SJN | SJN | 30
1819004 | 10/05/2023 08:41 AM | PM | Planned Maintenance | OP | Open | -Service Agreement PM - Next Scheduled Date: 03/01/2024 | Jeff Dipolito | 10890 | EMPLOYEE | 12/31/2023 11:59 PM | 10/05/2023 08:41 AM |  |  | BC152072 | Linear Accelerator | 12-364 | Radiotherapy Systems, Linear Accelerator | H140776 | 363156 | Varian Medical Systems Inc Onc | CL-IXS | 1105-34620 | SAH-Radiation Therapy | IU | Active | SAH | SAH | 20
1819060 | 09/01/2023 11:41 AM | PM | Planned Maintenance | OP | Open | -Service Agreement PM - Next Scheduled Date: 09/01/2024 | Greg Hackworth | 12469 | EMPLOYEE | 10/31/2023 11:59 PM | 10/05/2023 11:41 AM |  |  | SAH8375 | Intravascular Ultrasound | 17-746 | Scanning Systems, Ultrasonic, Intravascular | 400461 | 453551 | Philips Healthcare | SyncVision | 1105-30610 | SAH-Cardiac Cath Lab | IU | Active | SAH | SAH | 30
1819061 | 09/01/2023 11:41 AM | PM | Planned Maintenance | OP | Open | -Service Agreement PM - Next Scheduled Date: 09/01/2024 | Greg Hackworth | 12469 | EMPLOYEE | 10/31/2023 11:59 PM | 10/05/2023 11:41 AM |  |  | SAH8325 | Intravascular Ultrasound | 17-746 | Scanning Systems, Ultrasonic, Intravascular | 194 and System SN 1068 | 453551 | Philips Healthcare | Intrasight Mobile | 1105-30610 | SAH-Cardiac Cath Lab | IU | Active | SAH | SAH | 30
1819133 | 10/05/2023 03:48 PM | PM | Planned Maintenance | OP | Open | Monitors, Physiologic, Central Station - Next Scheduled Date: 11/01/2024 | Christopher Itzo | CHITZ | EMPLOYEE | 12/31/2023 11:59 PM | 10/05/2023 03:48 PM |  |  | SAH8628 | Central Station Computer | 20-179 | Monitors, Physiologic, Central Station | STV22120006SA | 440964 | GE Healthcare Technologies | MAI800 | 1105-12250 | SAH-Med/Surg/Tele Unit AT5 | IU | Active | SAH | SAH | 15
1819185 | 10/06/2023 07:54 AM | PM | Planned Maintenance | OP | Open | -Pm Device Using Mfg Procedure - Next Scheduled Date: 05/01/2024 | Brian Mace | BRMAC | EMPLOYEE | 12/31/2023 11:59 PM | 10/06/2023 07:54 AM |  |  | WHH6458 | Diagnostic Ultrasound System | 14-278 | Scanning Systems, Ultrasonic | 503654SU2 | 439946 | GE Healthcare USA | 5756373 | 6100-33907 | WHH-RMC Ultrasound | IU | Active | WHH | WHH | 16
1819189 | 10/06/2023 07:57 AM | PM | Planned Maintenance | OP | Open | -Pm Device Using Mfg Procedure - Next Scheduled Date: 05/01/2024 | Brian Mace | BRMAC | EMPLOYEE | 12/31/2023 11:59 PM | 10/06/2023 07:57 AM |  |  | WHH7808 | DaVinci Surgical Table | 13-961 | Tables, Operating | 108601404 | 441254 | TRUMPF Medical Systems Inc | TS7000dV | 6100-21100 | WHH-SURGERY | IU | Active | WHH | WHH | 26
1819192 | 08/01/2023 08:01 AM | PM | Planned Maintenance | OP | Open | -Pm Device Using Mfg Procedure - Next Scheduled Date: 08/01/2024 | Stacey McClinton | STMCC | EMPLOYEE | 09/30/2023 11:59 PM | 10/06/2023 08:01 AM |  |  | SJH3108 | Invasive Pressure Module | 20-772 | Physiologic Monitor Modules, Invasive Blood Pressure | 3218A52490 | 453551 | Philips Healthcare | M1006A | 5100-13210 | SJH-Cardiovascular ICU CCT2 | IU | Active | SJH | SJH | 16
1819193 | 08/01/2023 08:01 AM | PM | Planned Maintenance | OP | Open | -Pm Device Using Mfg Procedure - Next Scheduled Date: 08/01/2024 | Stacey McClinton | STMCC | EMPLOYEE | 09/30/2023 11:59 PM | 10/06/2023 08:01 AM |  |  | SJH3109 | Invasive Pressure Module | 20-772 | Physiologic Monitor Modules, Invasive Blood Pressure | 3218A53008 | 453551 | Philips Healthcare | M1006A | 5100-13350 | SJH-CVICU 13210 1 | IU | Active | SJH | SJH | 16
1819194 | 08/01/2023 08:01 AM | PM | Planned Maintenance | OP | Open | -Pm Device Using Mfg Procedure - Next Scheduled Date: 08/01/2024 | Stacey McClinton | STMCC | EMPLOYEE | 09/30/2023 11:59 PM | 10/06/2023 11:21 AM | 107 | PM Tasks Performed/Passed | SJH3110 | Invasive Pressure Module | 20-772 | Physiologic Monitor Modules, Invasive Blood Pressure | 3126A39435 | 453551 | Philips Healthcare | M1006A | 5100-13210 | SJH-Cardiovascular ICU CCT2 | IU | Active | SJH | SJH | 16
1819195 | 08/01/2023 08:01 AM | PM | Planned Maintenance | OP | Open | -Pm Device Using Mfg Procedure - Next Scheduled Date: 08/01/2024 | Stacey McClinton | STMCC | EMPLOYEE | 09/30/2023 11:59 PM | 10/06/2023 08:01 AM |  |  | SJH3114 | Invasive Pressure Module | 20-772 | Physiologic Monitor Modules, Invasive Blood Pressure | 3006A26984 | 453551 | Philips Healthcare | M1006B | 5100-13210 | SJH-Cardiovascular ICU CCT2 | IU | Active | SJH | SJH | 16
1819198 | 08/01/2023 08:01 AM | PM | Planned Maintenance | OP | Open | -Pm Device Using Mfg Procedure - Next Scheduled Date: 08/01/2024 | Stacey McClinton | STMCC | EMPLOYEE | 09/30/2023 11:59 PM | 10/06/2023 08:01 AM |  |  | SJH3119 | Invasive Pressure Module | 20-772 | Physiologic Monitor Modules, Invasive Blood Pressure | 3006A25966 | 453551 | Philips Healthcare | M1006A | 5100-13350 | SJH-CVICU 13210 1 | IU | Active | SJH | SJH | 16
1819200 | 08/01/2023 08:01 AM | PM | Planned Maintenance | OP | Open | -Pm Device Using Mfg Procedure - Next Scheduled Date: 08/01/2024 | Stacey McClinton | STMCC | EMPLOYEE | 09/30/2023 11:59 PM | 10/06/2023 08:01 AM |  |  | SJH3122 | Invasive Pressure Module | 20-772 | Physiologic Monitor Modules, Invasive Blood Pressure | 3126A39446 | 453551 | Philips Healthcare | M1006A | 5100-13350 | SJH-CVICU 13210 1 | IU | Active | SJH | SJH | 16
1819247 | 09/01/2023 10:26 AM | PM | Planned Maintenance | OP | Open | --- OR Safety Inspection --- - Next Scheduled Date: 03/01/2024 | Crystal Schmitt | CRSCH | EMPLOYEE | 10/31/2023 11:59 PM | 10/06/2023 10:26 AM |  |  | SAH5293 | Endoscope Flushing Pump | 13-192 | Pumps | 21218910 | 276750 | Olympus America Inc | OFP | 1105-21221 | SAH-Endoscopy (2SE) | IU | Active | SAH | SAH | 13