## Work Orders
WO_NUMBER | REQST_DATETIME | WO_TYPE | WO_TYPE_DESC | WO_STATUS | WO_STATUS_DESC | REQUESTOR | CONTACT | WO_PROBLEM | TRADE_EMP_DESC | TRADE_EMP_CODE | TRADE_EMP_TYPE | PRIORITY | PRIORITY_DESC | TAG_NUMBER | DESCRIPTION | SERIAL_NUM | MANUFACTURER | MANUFACTURER_DESC | MODEL_NUM | FACILITY | FACILITY_DESC
1568048 | 02/09/2022 10:59 AM | SP | Special Projects | IW | Awaiting Onsite Vendor Maint | b119865 | Robert Nobrega / 7278594913 | Log4j Vulnerability Coordinate with vendor for remediation | Gerson Colon Jr | GECOL | EMPLOYEE | 9 | 2 Routine | SJS6406 | Digital Portable X-ray System | DF2402000764WK | 439946 | GE Healthcare USA | 5555000-27 | SJS | SJS
1748847 | 04/19/2022 03:08 PM | SP | Special Projects | IW | Awaiting Onsite Vendor Maint | b119865 | ROBERT NOBREGA / 7278594913 | Remediate Axeda cybersecurity vulnerability following attached procedure | Gerson Colon Jr | GECOL | EMPLOYEE | 9 | 2 Routine | BC120108 | Computer Aided Detection Mammo | C5740 | 106487 | Hologic Inc | ASY-02354 | BOI | BOI
1772836 | 08/01/2023 07:46 AM | PM | Planned Maintenance | WP | Awaiting Parts |  |  | -Vendor PM - Next Scheduled Date: 02/01/2024 | KenMed Supply LLC | 569382 | VENDOR | 2 | PM Level 2 | WHH3279 | Surgical Table | 3500-3I-1286 | 102186 | Skytron Div The KMW Group | 3500 | WHH | WHH
1773865 | 06/08/2023 02:27 AM | EN | Easy Net | WP | Awaiting Parts | b144654 | 8632971805 | not connecting to program. | Med Stat Consulting SVCS | M10025 | VENDOR | 9 | 2 Routine | WHH7058 | Pump Control Unit 5.7 Screen | 15844815 | 378348 | BD | 8015LS | WHH | WHH
1783113 | 07/06/2023 02:14 PM | CM | Corrective Maintenance | WP | Awaiting Parts | B105822 | Dianne Gee / 813-443-7163 | 8133028045 - Monitor on top broken off LOC: OR cove hallway | Gerson Colon Jr | GECOL | EMPLOYEE | 9 | 2 Routine | SJS4274 | Mobile C-Arm | E2-4440 | 453503 | GE Healthcare Surgery | 9900 ELITE | SJS | SJS
1805124 | 09/01/2023 08:15 AM | PM | Planned Maintenance | NP | PM Not Performed Missing |  |  | --- Ranger 245 PM Procedure --- - Next Scheduled Date: 12/01/2023 | KenMed Supply LLC | 569382 | VENDOR | 2 | PM Level 2 | WHH8867 | Blood Warmer | 3425 | 418683 | Arizant Healthcare Inc | 245 | WHH | WHH
1884779 | 04/01/2024 10:19 AM | PM | Planned Maintenance | AI | Awaiting Invoice | bc107207 | 813.554.8131 | -Vendor PM - Next Scheduled Date: 04/01/2025 | Gerson Colon Jr | GECOL | EMPLOYEE | 9 | 2 Routine | SJH26488 | Quality Assurance Tester, DI | 271322 | 457018 | Unfors RaySafe Inc | 8251010-6 | SJH | SJH
1885055 | 03/20/2024 01:45 PM | EN | Easy Net | IW | Awaiting Onsite Vendor Maint | EXD53563 | 813-356-7113 | field detector out of field/ center. | Gerson Colon Jr | GECOL | EMPLOYEE | 9 | 2 Routine | SJH28126 | Radiographic/Fluoroscopic Syst | 41C351685001 | 106973 | Shimadzu Medical Systems, Inc | SonialVision G4 | SJH | SJH
1891633 | 04/02/2024 01:46 PM | EN | Easy Net | IP | In Progress | b149445 | 8632971800 | Pump says channel error. Cant disconnect from pump | Med Stat Consulting SVCS | M10025 | VENDOR | 9 | 2 Routine | WHH2116 | Large Volume Pump Module | 4124694 | 378348 | BD | 8100 | WHH | WHH
1894758 | 04/17/2024 08:38 AM | CM | Corrective Maintenance | WP | Awaiting Parts | B117911 | Steven Kelly / | 813-302-8045/Will not move. | Gerson Colon Jr | GECOL | EMPLOYEE | 9 | 2 Routine | SJS4274 | Mobile C-Arm | E2-4440 | 453503 | GE Healthcare Surgery | 9900 ELITE | SJS | SJS
1904259 | 05/01/2024 12:06 PM | PM | Planned Maintenance | IW | Awaiting Onsite Vendor Maint | Meredith Alaynick | TBD | -Vendor PM - Next Scheduled Date: 05/01/2025 | Gerson Colon Jr | GECOL | EMPLOYEE | 9 | 2 Routine | BC171289 | MRI Water Chiller | W186509-001 | 553916 | Glen Dimplex Thermal Solutions | W02-10000-2P-NF-L-M | BOI | BOI
1906745 | 05/15/2024 12:53 PM | CM | Corrective Maintenance | IW | Awaiting Onsite Vendor Maint | B158750 | Gerson Colon jr / 813-210-6778 | Per Jamie Larussa: "Several issues with the TIMS computer." | Gerson Colon Jr | GECOL | EMPLOYEE | 9 | 2 Routine | SJH24247 | Dicom Conversion System | 7001137 | 471654 | TIMS Medical Div Foresight Ima | 061000-2000 | SJH | SJH
1911770 | 06/01/2024 10:55 AM | PM | Planned Maintenance | IW | Awaiting Onsite Vendor Maint | Janet Pindral | 813.872.3949 | -Service Agreement PM - Next Scheduled Date: 12/01/2024 | Gerson Colon Jr | GECOL | EMPLOYEE | 2 | PM Level 2 | SJH4072 | 2D Digital Mammo | 81005110811 | 106487 | Hologic Inc | SDM-00001-2D | SJH | SJH
1913484 | 06/01/2024 11:38 AM | PM | Planned Maintenance | DU | Device Unavailable | n | n | -Pm Device Using Mfg Procedure - Next Scheduled Date: 06/01/2025 | Gerson Colon Jr | GECOL | EMPLOYEE | 2 | PM Level 2 | BC110006 | Laser Imager | 09927014 | 441054 | Konica Minolta Medical Imaging | 873 | BOI | BOI
1913487 | 06/01/2024 11:38 AM | PM | Planned Maintenance | IW | Awaiting Onsite Vendor Maint | n | n | -Service Agreement PM - Next Scheduled Date: 06/01/2025 | Gerson Colon Jr | GECOL | EMPLOYEE | 9 | 2 Routine | BC110016 | General Digital Rad Room | 22714 | 399199 | Siemens Medical Solutions USA | 10281013 | BOI | BOI
1913491 | 06/01/2024 11:38 AM | PM | Planned Maintenance | IW | Awaiting Onsite Vendor Maint | Meredith Alaynick | TBD | -Service Agreement PM - Next Scheduled Date: 12/01/2024 | Gerson Colon Jr | GECOL | EMPLOYEE | 9 | 2 Routine | BC120211 | Bone Densitometer | 301988M | 106487 | Hologic Inc | Horizon-W | BOI | BOI
1913499 | 06/01/2024 11:38 AM | PM | Planned Maintenance | IW | Awaiting Onsite Vendor Maint | Synda McGraph | TBD | -Service Agreement PM - Next Scheduled Date: 06/01/2025 | Gerson Colon Jr | GECOL | EMPLOYEE | 2 | PM Level 2 | BC146753 | 3D Digital Mammo | 3DM160100701 | 106487 | Hologic Inc | 3DM-SYS-STD | BOI | BOI
1913528 | 06/01/2024 11:38 AM | PM | Planned Maintenance | AC | Acknowledged | n | n | Diagnostic Medical Display Annual PM - Next Scheduled Date: 06/01/2025 | Gerson Colon Jr | GECOL | EMPLOYEE | 9 | 2 Routine | BC186802 | 3MP Color Med Display | 2590235115 | 392478 | Barco Inc | MDNC-3421 | BOI | BOI
1913530 | 06/01/2024 11:38 AM | PM | Planned Maintenance | AC | Acknowledged | n | n | Diagnostic Medical Display Annual PM - Next Scheduled Date: 06/01/2025 | Gerson Colon Jr | GECOL | EMPLOYEE | 9 | 2 Routine | BC186803 | 3MP Color Med Display | 2590235112 | 392478 | Barco Inc | MDNC-3421 | BOI | BOI
1913531 | 06/01/2024 11:38 AM | PM | Planned Maintenance | AC | Acknowledged | n | n | Diagnostic Medical Display Annual PM - Next Scheduled Date: 06/01/2025 | Gerson Colon Jr | GECOL | EMPLOYEE | 9 | 2 Routine | BC186804 | 3MP Color Med Display | 2590134129 | 392478 | Barco Inc | MDNC-3421 | BOI | BOI
1913532 | 06/01/2024 11:38 AM | PM | Planned Maintenance | AC | Acknowledged | n | n | Diagnostic Medical Display Annual PM - Next Scheduled Date: 06/01/2025 | Gerson Colon Jr | GECOL | EMPLOYEE | 9 | 2 Routine | BC186806 | 3MP Color Med Display | 2590134130 | 392478 | Barco Inc | MDNC-3421 | BOI | BOI
1913533 | 06/01/2024 11:38 AM | PM | Planned Maintenance | AC | Acknowledged | n | n | Diagnostic Medical Display Annual PM - Next Scheduled Date: 06/01/2025 | Gerson Colon Jr | GECOL | EMPLOYEE | 9 | 2 Routine | BC186807 | 12MP diagnostic display | 2590232628 | 392478 | Barco Inc | MDMC-12133 | BOI | BOI
1913534 | 06/01/2024 11:38 AM | PM | Planned Maintenance | IW | Awaiting Onsite Vendor Maint | n | n | -Service Agreement PM and Required Annual Password Change - Next Scheduled Date: 06/01/2025 | Gerson Colon Jr | GECOL | EMPLOYEE | 9 | 2 Routine | BC186808 | Bone Densitometer | 301016M | 106487 | Hologic Inc | Horizon-W | BOI | BOI
1914545 | 06/01/2024 07:17 PM | PM | Planned Maintenance | DU | Device Unavailable | Vikki ONeal | 813-302-8030 | -Service Agreement PM and Required Annual Password Change - Next Scheduled Date: 06/01/2025 | Gerson Colon Jr | GECOL | EMPLOYEE | 9 | 2 Routine | SJS1528 | Nuclear Medicine Work Station | CZC4123Q3K | 439946 | GE Healthcare USA | Xeleris SPECT | SJS | SJS
1914653 | 06/01/2024 07:18 PM | PM | Planned Maintenance | IW | Awaiting Onsite Vendor Maint | Vikki ONeal | 813-302-8030 | -Pm Performed By Outside Service - Next Scheduled Date: 06/01/2025 | Gerson Colon Jr | GECOL | EMPLOYEE | 2 | PM Level 2 | SJS2669 | Avanto Biopsy Breast Array | 051010 | 308478 | Invivo Corp | 104461 | SJS | SJS
1914664 | 06/01/2024 07:18 PM | PM | Planned Maintenance | WP | Awaiting Parts | Val Relente | 813-302-8030 | --- OR Safety Inspection --- - Next Scheduled Date: 12/01/2024 | Gerson Colon Jr | GECOL | EMPLOYEE | 9 | 2 Routine | SJS3389 | CFD Mobile C-Arm | FBHXTX00086 | 453503 | GE Healthcare Surgery | OEC Elite CFD | SJS | SJS
1914668 | 06/01/2024 07:18 PM | PM | Planned Maintenance | IW | Awaiting Onsite Vendor Maint | Vikki ONeal | 813-302-8030 | -Service Agreement PM and Required Annual Password Change - Next Scheduled Date: 06/01/2025 | Gerson Colon Jr | GECOL | EMPLOYEE | 9 | 2 Routine | SJS3465 | Nuclear Medicine Work Station | CZC64386XX | 439946 | GE Healthcare USA | Xeleris SPECT | SJS | SJS
1914717 | 06/01/2024 07:18 PM | PM | Planned Maintenance | IW | Awaiting Onsite Vendor Maint | Vikki ONeal | 813-302-8030 | -Pm Device Using Mfg Procedure - Next Scheduled Date: 12/01/2024 | Gerson Colon Jr | GECOL | EMPLOYEE | 2 | PM Level 2 | SJS4994 | Nuclear Medicine Camera System | CZC62878VC | 439946 | GE Healthcare USA | 5370540-27 | SJS | SJS
1914722 | 06/01/2024 07:18 PM | PM | Planned Maintenance | IW | Awaiting Onsite Vendor Maint | Val Relente | 813-302-8030 | -Pm Device Using Mfg Procedure - Next Scheduled Date: 06/01/2025 | Gerson Colon Jr | GECOL | EMPLOYEE | 2 | PM Level 2 | SJS5041 | Digital Portable X-ray System | 1034668WK2 | 439946 | GE Healthcare USA | 5555000-5 | SJS | SJS
1914739 | 06/01/2024 07:18 PM | PM | Planned Maintenance | IW | Awaiting Onsite Vendor Maint | Val Relente | 813-302-8030 | -Pm Device Using Mfg Procedure - Next Scheduled Date: 06/01/2025 | Gerson Colon Jr | GECOL | EMPLOYEE | 2 | PM Level 2 | SJS5488 | Digital Portable X-ray System | 1034329WK1 | 439946 | GE Healthcare USA | 5555000-5 | SJS | SJS
1914769 | 06/01/2024 07:18 PM | PM | Planned Maintenance | IW | Awaiting Onsite Vendor Maint | Vikki ONeal | 813-302-8030 | -Pm Device Using Mfg Procedure - Next Scheduled Date: 12/01/2024 | Gerson Colon Jr | GECOL | EMPLOYEE | 2 | PM Level 2 | SJS6362 | Breast Biopsy System | 82007193261RM | 106487 | Hologic Inc | RM-STLC-00004 | SJS | SJS
1914770 | 06/01/2024 07:18 PM | PM | Planned Maintenance | IW | Awaiting Onsite Vendor Maint | Val Relente | 813-302-8030 | -Pm Device Using Mfg Procedure - Next Scheduled Date: 06/01/2025 | Gerson Colon Jr | GECOL | EMPLOYEE | 2 | PM Level 2 | SJS6405 | Digital Portable X-ray System | 1034415WK8 | 439946 | GE Healthcare USA | 5555000-5 | SJS | SJS
1914771 | 06/01/2024 07:18 PM | PM | Planned Maintenance | AF | Awaiting FSR | Val Relente | 813-302-8030 | -Vendor PM - Next Scheduled Date: 12/01/2024 | Gerson Colon Jr | GECOL | EMPLOYEE | 9 | 2 Routine | SJS6419 | Breast Biopsy System | 31503133064 | 106487 | Hologic Inc | MULTICARE | SJS | SJS
1914838 | 06/01/2024 07:19 PM | PM | Planned Maintenance | IW | Awaiting Onsite Vendor Maint | Vikki ONeal | 813-302-8030 | -Pm Performed By Outside Service - Next Scheduled Date: 06/01/2025 | Gerson Colon Jr | GECOL | EMPLOYEE | 2 | PM Level 2 | SJS7182 | Closed MRI Spine Coil | 6754 IVK | 399199 | Siemens Medical Solutions USA | 07579340 | SJS | SJS
1917629 | 06/01/2024 06:49 AM | PM | Planned Maintenance | IW | Awaiting Onsite Vendor Maint | Janet Pindral | 813.872.3949 | -Service Agreement PM - Next Scheduled Date: 12/01/2024 | Gerson Colon Jr | GECOL | EMPLOYEE | 2 | PM Level 2 | SJH26487 | Breast Biopsy System | 82010151269RM | 106487 | Hologic Inc | STLC-00004 | SJH | SJH
1917732 | 06/01/2024 06:50 AM | PM | Planned Maintenance | IW | Awaiting Onsite Vendor Maint | Janet Pindral | 813.872.3949 | -Pm Device Using Mfg Procedure - Next Scheduled Date: 06/01/2025 | Gerson Colon Jr | GECOL | EMPLOYEE | 2 | PM Level 2 | SJH29046 | Bone Densitometer | 85633 | 106487 | Hologic Inc | DISCOVERY QDR | SJH | SJH
1917825 | 06/01/2024 06:50 AM | PM | Planned Maintenance | IW | Awaiting Onsite Vendor Maint | Janet Pindral | 813.872.3949 | -Service Agreement PM - Next Scheduled Date: 12/01/2024 | Gerson Colon Jr | GECOL | EMPLOYEE | 2 | PM Level 2 | SJH4073 | 2D Digital Mammo | 81005110809 | 106487 | Hologic Inc | SDM-00001-2D | SJH | SJH
1917826 | 06/01/2024 06:50 AM | PM | Planned Maintenance | IW | Awaiting Onsite Vendor Maint | Janet Pindral | 813.872.3949 | -Pm Device Using Mfg Procedure - Next Scheduled Date: 06/01/2025 | Gerson Colon Jr | GECOL | EMPLOYEE | 2 | PM Level 2 | SJH4075 | Digital Portable X-ray System | 410001B2A004 | 106973 | Shimadzu Medical Systems, Inc | 503-70000-01 | SJH | SJH
1917827 | 06/01/2024 06:50 AM | PM | Planned Maintenance | IW | Awaiting Onsite Vendor Maint | Janet Pindral | 813.872.3949 | -Pm Device Using Mfg Procedure - Next Scheduled Date: 06/01/2025 | Gerson Colon Jr | GECOL | EMPLOYEE | 2 | PM Level 2 | SJH4077 | Digital Portable X-ray System | 410001B23008 | 106973 | Shimadzu Medical Systems, Inc | 503-70000-01 | SJH | SJH
1917935 | 06/01/2024 06:51 AM | PM | Planned Maintenance | IW | Awaiting Onsite Vendor Maint | Lorraine Sargent | 813.870.4597 | -Pm Device Using Mfg Procedure - Next Scheduled Date: 08/01/2024 | Gerson Colon Jr | GECOL | EMPLOYEE | 2 | PM Level 2 | SJH8157 | CT Scanner | 8DA15X2004 | 101894 | Toshiba America Medical System | TSX-301C-6 | SJH | SJH
1917936 | 06/01/2024 06:51 AM | PM | Planned Maintenance | IW | Awaiting Onsite Vendor Maint | Michele Cimino | 813.870.4726 | -Service Agreement PM - Next Scheduled Date: 06/01/2025 | Gerson Colon Jr | GECOL | EMPLOYEE | 2 | PM Level 2 | SJH8159 | Digital Biopsy System | 30373 | 106487 | Hologic Inc | BIOVISION 10X15 | SJH | SJH
1918909 | 06/03/2024 02:56 PM | CM | Corrective Maintenance | WP | Awaiting Parts | bsh56849 | Beatrice Hawthorne / 813-870-4605 | Work Order to connect this unit to the network. | Gerson Colon Jr | GECOL | EMPLOYEE | 9 | 2 Routine | SJH11948 | Mobile C-Arm | E2-5316 | 453503 | GE Healthcare Surgery | 9900 ELITE | SJH | SJH
1921119 | 06/10/2024 04:53 PM | IN | Initial Inspection | AD | Awaiting Delivery of Equipment | b126836 | Jennah Judd / 727-315-5339 | ETA 7/22/2024 ACUSON ORIGIN HYBRID OR 9 510123223 SIEMENS QUOTE ATTACHED | Gerson Colon Jr | GECOL | EMPLOYEE | 9 | 2 Routine | NEW-EQUIP | New Equipment ADD | NSNNEW-EQUIPSJH | 000 | Misc-Numbers | New Equipment ADD | SJH | SJH
1923117 | 06/17/2024 08:37 AM | EN | Easy Net | OP | Open | b092549 | (813) 586-5129 | Please work with Connectivity (Elroy) and FS (Elias) to ensure the CES equipment comes back up after repatching to new IDF. New IDF patch details below. Location: Big Bend Specialty ste 206 IDF Short Description : New IDF at Big Bend Outpatient Center 2nd floor - repatch devices to new IDFDescribe your requirement in detail : The Big Bend Specialty expansion project includes a new "BayCare IDF in the Outpatient building, on the 2nd floor. Existing BMG Specialty in suite 206 has been re- | Gerson Colon Jr | GECOL | EMPLOYEE | 9 | 2 Routine | NOTAG | Need Tag Number | NSNNOTAG | 000 | Misc-Numbers | No Tag | BMG | BMG
1923831 | 06/20/2024 12:03 PM | CM | Corrective Maintenance | WP | Awaiting Parts | b158750 | Gerson Colon jr. / | Help ordering accessories. | Gerson Colon Jr | GECOL | EMPLOYEE | 9 | 2 Routine | BC186779 | MRI 1.5 Tesla | 31351 | 399199 | Siemens Medical Solutions USA | 10018165 | BOI | BOI
1926043 | 07/01/2024 06:52 AM | PM | Planned Maintenance | IW | Awaiting Onsite Vendor Maint | Audrey McDonald | 813-259-1902 | -Service Agreement PM and Required Annual Password Change - Next Scheduled Date: 07/01/2025 | Gerson Colon Jr | GECOL | EMPLOYEE | 9 | 2 Routine | BC121735 | Bone Densitometer | 200336 | 106487 | Hologic Inc | Horizon-W | BOI | BOI
1927380 | 07/01/2024 08:42 AM | PM | Planned Maintenance | IW | Awaiting Onsite Vendor Maint | Janet Pindral | 813.872.3949 | PM Device Using Mfg Procedure and Required Annual Password Change - Next Scheduled Date: 07/01/2025 | Gerson Colon Jr | GECOL | EMPLOYEE | 2 | PM Level 2 | SJH24247 | Dicom Conversion System | 7001137 | 471654 | TIMS Medical Div Foresight Ima | 061000-2000 | SJH | SJH
1929455 | 07/01/2024 12:48 PM | PM | Planned Maintenance | OP | Open | Val Relente | 813-302-8030 | -Service Agreement PM - Next Scheduled Date: 01/01/2025 | Gerson Colon Jr | GECOL | EMPLOYEE | 2 | PM Level 2 | SJS6363 | 3D Digital Mammo | 81007143727 | 106487 | Hologic Inc | SDM-00001-3D | SJS | SJS
1930247 | 07/02/2024 01:02 PM | CM | Corrective Maintenance | IW | Awaiting Onsite Vendor Maint | B158750 | Gerson Colon jr / 813-210-6778 | Deyanira stated: "Confusing Labeling on APBS system." | Gerson Colon Jr | GECOL | EMPLOYEE | 9 | 2 Routine | SJH22327 | Breast Biopsy System | APB1101205 | 106487 | Hologic Inc | PBX-SYS-AFFIRM-3D | SJH | SJH
1930476 | 07/02/2024 03:08 PM | CM | Corrective Maintenance | IW | Awaiting Onsite Vendor Maint | B132784 | Deyanira Rizzo / | 813-356-7112 ¦ Table is stuck, unable to bring up or down. Patient on table. ¦ SJW - Shimberg Breast Center Biopsy Room | Gerson Colon Jr | GECOL | EMPLOYEE | 9 | 2 Routine | SJH22327 | Breast Biopsy System | APB1101205 | 106487 | Hologic Inc | PBX-SYS-AFFIRM-3D | SJH | SJH
1930764 | 07/05/2024 06:19 AM | CM | Corrective Maintenance | IW | Awaiting Onsite Vendor Maint | B133890 | Julie Dang / | 813-302-8045/Light is out. | Gerson Colon Jr | GECOL | EMPLOYEE | 8 | 1 Emergency/STAT | SJS6406 | Digital Portable X-ray System | DF2402000764WK | 439946 | GE Healthcare USA | 5555000-27 | SJS | SJS
1930767 | 07/05/2024 06:43 AM | CM | Corrective Maintenance | IW | Awaiting Onsite Vendor Maint | B115690 | David Klaue / | 8133028743 - video cable connector frayed | Gerson Colon Jr | GECOL | EMPLOYEE | 9 | 2 Routine | SJS4414 | Angiographic/Interventional Sy | 109463 | 399199 | Siemens Medical Solutions USA | 10848281 | SJS | SJS
1930768 | 07/05/2024 07:00 AM | CM | Corrective Maintenance | AC | Acknowledged | B115690 | David Klaue / | 8139028743- Video cable going into video has broken connector and is loose | Gerson Colon Jr | GECOL | EMPLOYEE | 9 | 2 Routine | SJS4415 | Angiographic/Interventional Sy | 121056 | 399199 | Siemens Medical Solutions USA | 10848282 | SJS | SJS
1931650 | 07/09/2024 08:13 AM | CM | Corrective Maintenance | IP | In Progress | EXD53563 | Eileen Diaz / 813-872-2973 | 8133567113 - error code: U01 U03 | Gerson Colon Jr | GECOL | EMPLOYEE | 9 | 2 Routine | SJH4075 | Digital Portable X-ray System | 410001B2A004 | 106973 | Shimadzu Medical Systems, Inc | 503-70000-01 | SJH | SJH
1932765 | 07/15/2024 03:37 PM | CM | Corrective Maintenance | WP | Awaiting Parts | B140615 | Christopher Schaaff /813-302-8045 | 813-302-8045, Screen on the C-Arm is not workingLOC: Surgery #4 purple | Gerson Colon Jr | GECOL | EMPLOYEE | 8 | 1 Emergency/STAT | SJS2376 | CFD Mobile C-Arm | FBHXXX00237 | 453503 | GE Healthcare Surgery | OEC Elite CFD | SJS | SJS
1932875 | 07/16/2024 10:36 AM | CM | Corrective Maintenance | IW | Awaiting Onsite Vendor Maint | B128781 | Kelly Hardin / | bc171363 / Problem: When sending images to Dynacad, "Export failed" / LOC: 1st Floor - MAB Building - Imaging | Gerson Colon Jr | GECOL | EMPLOYEE | 8 | 1 Emergency/STAT | ENVSJD-MRI | Department Environment Rounds | ENVSJD-MRI | 000 | Misc-Numbers | ENVIRONMENT | BOI | BOI